## Bill No 1
ARYA CONTRACTING LTD
BILL OF QUANTITIES - PRICING DOCUMENT
Tenderers are to price every item in the Rate column
Item No. | Description of Works | Unit | Quantity | Rate
CABLING & TERMINATIONS
1.01 | Fusion splice fibre optic cable including tray and closure | nr | 473
PROFESSIONAL SERVICES & SURVEYS
1.02 | UTILITY DETECTION SURVEY AND SLIT TRENCHING PRIOR TO EXCAVATION | nr | 85
CABLING & TERMINATIONS
1.03 | Terminate MV cable into switchgear including testing | nr | 12
CHAMBERS & JOINTING BAYS
1.04 | Raise or lower existing chamber to finished road level | nr | 35
PRELIMINARIES & SITE SETUP
1.05 | Site set up, welfare unit and secure compound | week | 59
CABLING & TERMINATIONS
1.06 | Earthing installation inc. rods, tape and connections | item | 1
TRAFFIC MANAGEMENT
1.07 | Preparation and approval of traffic management plan (Chapter 8) | item | 1
EXCAVATION & EARTHWORKS
1.08 | Excavation in rock inc. breaking and removal | m3 | 2026.21
1.09 | Dewatering of excavations including pumps and settlement tank | week | 12
TESTING & COMMISSIONING
1.10 | Insulation resistance and continuity testing of installed cable | nr | 116
PRELIMINARIES & SITE SETUP
2.01 | MOBILISATION AND DEMOBILISATION OF PLANT TO SITE | item | 1
ROAD REINSTATEMENT & SURFACING
2.02 | SUPPLY AND LAY 30mm AC10 surface course | m2 | 2496.93
2.03 | Supply and lay 30mm AC10 surface course | m2 | 1168.54
TESTING & COMMISSIONING
2.04 | Testing and energisation of MV network including switching | item | 1
PLANT & EQUIPMENT SUPPLY
2.05 | Supply and erect 8m public lighting column with LED lantern | nr | 73
TESTING & COMMISSIONING
2.06 | TESTING AND ENERGISATION OF MV NETWORK INCLUDING SWITCHING (as drawing) | item | 1
CABLING & TERMINATIONS
2.07 | Pull in LV service cable 95mm2 to dwelling c/w duct entry | m | 1709.29
TRAFFIC MANAGEMENT
2.08 | PROVISION OF TRAFFIC MANAGEMENT WITH TWO-WAY PORTABLE SIGNALS | week | 30
DUCTING & CABLE PROTECTION
2.09 | Supply and lay cable protection tiles and marker tape | m | 235.14
ROAD REINSTATEMENT & SURFACING
2.10 | Supply and lay precast concrete kerbing including haunching | m | 276.14
3.01 | Reinstate road markings to match existing | m | 879.46
CABLING & TERMINATIONS
3.02 | Terminate MV cable into switchgear c/w testing | nr | 39
PRELIMINARIES & SITE SETUP
3.03 | Site set up, welfare unit and secure compound | week | 42
TESTING & COMMISSIONING
3.04 | Insulation resistance and continuity testing of installed cable (as drawing) | nr | 38
3.05 | Insulation resistance and continuity testing of installed cable | nr | 163
EXCAVATION & EARTHWORKS
3.06 | EXCAVATE TRENCH 900MM WIDE X 1.5M DEEP IN SOFT GROUND INCL. SUPPORT AND BACKFILL | m | 849.33
DUCTING & CABLE PROTECTION
3.07 | SUPPLY AND LAY 160MM DIA TWINWALL DUCT INCLUDING DRAW ROPE | m | 3410.01
CHAMBERS & JOINTING BAYS
3.08 | Raise or lower existing chamber to finished road level | nr | 39
ROAD REINSTATEMENT & SURFACING
3.09 | SUPPLY AND LAY 30mm AC10 surface course | m2 | 3516.17
CABLING & TERMINATIONS
3.10 | Blow in fibre optic cable to existing subduct | m | 3734.02
Carried to Summary